## Slide 1: IO-Link
By
Rahul Patil

## Slide 2: Agenda
Industrial Evolution
  Industry 3.0
  Automation pyramid
  Process automation
Sensor/Actuator evolution
  Analog signal interface
    4-20mA current loop
  Digital signal interface
    IO-Link
Automation pyramid to pillar/Industry 3.0 to 4.0 transition

## Slide 3: Industrial Evolution
1784
1870
1969
Today

## Slide 4: Industry 3.0

## Slide 5: Automation pyramid

## Slide 6: Process automation

## Slide 7: Process automation example

## Slide 8: Sensor interface evolution
Analog signal interface
  4-20 mA(1950)
  0-10 V
  Digital data over analog signal interface
    HART protocol(1980)
Digital signal interface
  IO-Link(2005)

## Slide 9: 4-20mA current loop

## Slide 10: 4-20 mA current loop: Live Zero

## Slide 11: 4-20 mA current loop: 100%

## Slide 12: 4-20 mA current loop: Diagnostic info

## Slide 13: Sensor interface evolution
Analog signal interface
  Digital data over analog signal interface
    HART protocol(1980)
Digital signal interface
  IO-Link(2005)

## Slide 14: HART: Digital data over analog signal

## Slide 15: 4-20mA current loop

## Slide 16: HART is Bus.

## Slide 17: Sensor interface evolution
Analog signal interface
Digital data over analog signal interface
Digital signal interface
  IO-Link(2005)
    1.0(2008)
    1.1(2013)

## Slide 18: Fieldbuses

## Slide 20: What is IO-Link
1st worldwide standardized IO technology for sensors and actuators
IO-Link is tradename
Standardized as SDCI in IEC
  Single drop Digital Communication Interface
WHY now?
  Special IO module need to be installed on PLC side increasing cost
  Earlier interfaces are not able to communicate with higher speed
  Heterogenous wiring
    inventory need to be managed for all types of cables
    increase in cost
  Time consuming manual parameterization of same kind of Devices
  Unavailability of diagnostic/event data with other interfaces
To eliminate above weaknesses open interface is defined for sensors and actuators called as IO-Link.

## Slide 21: Components of IO-Link

## Slide 22: IO-Link with ifm

## Slide 23: IO-Link: Physical Layer
Point to point serial communication over USART
0-24 V digital communication over 20 m long cables
Speed
  COM1 = 4.8kbps
  COM2 = 38.4kbps
  COM3 = 230.4kbps
3-wire unshielded cable
  2 wires for power supply
  1 wire for data communication(COM)/Switching Input output(SIO)
M5, M8 and M12 standard connectors

## Slide 24: IO-Link: Data categories
Identification and communication parameters
  Mandatory page parameters
Device specific data/Device parameters
  Standard parameters
  Vendor specific parameters
Diagnostic data
  Standard errors
  Standard events
  Vendor specific events
Process data
  PDIn and PDOut data
  PD status
  Event indication flag

## Slide 25: IO-Link offers a lot!
Master support
  AI, AO, DI, DO and IO-Link on same port
  Retrofits into current PLC infra structure
  Opens IT interaction: under edge-to-cloud architecture
Device replacement
  Identical
  Common profile from different vendor
Standardization in low cost cables
  M5, M8, M12 in Port class A and B
D to A and A to D conversions are not needed
Burst/block parameterization for faster parameterization
Diagnostic information:
  Inventory management
  helps in predictive maintenance
  avoid shutdowns and increases uptime

## Slide 26: IOL configuration software
IO-Link Studio
LR device
Moneo
Quick look
Moneo config mobile app
Smart observer
IODD package
  IODD: IO device description file
    Device identification information
    Default values of parameters
    Range of every parameter
    All standard and vendor specific parameters
  IOL Device image
  Language file

## Slide 27: IO-Link future scope
IO-Link wireless
  Classic physical layer is replaced by wireless technology
IO-Link over SPE
  Classic PL will be replaced by new ethernet standardization called as SPE
IO-Link safety
  IO-Link for safety applications

## Slide 28: IO-Link with ifm

## Slide 29: IO-Link: Y-Path
Notes: https://www.ifm.com/us/en/shared/technologies/io-link/y-path-connection-for-iiot-solutions/y-path-connection-for-iiot-solutions

## Slide 30: Edge to cloud architecture

## Slide 31: Automation pyramid to pillar transformation

## Slide 33
Thank You!